## BOQ
BOQ · kitchen equipment and exhaust · Betalbatim pub
Shop 4, Tulip Residency, Gandaulim, Salcete, South Goa. Sizes in feet and inches with mm alongside; sheet in SWG; airflow in CFM; cooling in TR. Gas, plumbing, electrical, civil and fire work are in the main BOQ.
Fill the yellow cells. Enter a rate per unit, OR a rate per running foot or per sq ft in the basis column: the amount takes whichever you fill (per unit first). Rates ex-GST; freight, installation and GST at the bottom.
No. | Item / type | Size W × D × H (ft-in) | Size (mm) | Gauge, capacity, specification | Unit | Qty | Per-foot basis qty | Basis unit | Rate per unit (₹) | Rate per basis unit (₹) | Amount (₹) | Make / model / remarks | Main BOQ no.
| Stainless steel fabrication |  |  | SS 304. Worktops 18 SWG (1.2 mm), bodies and shelves 19 SWG (1.0 mm), legs 1½" (38 mm) tube, welded and polished joints, adjustable feet. Vendor confirms or corrects the gauge and states it on the quote.
1 | Non-veg prep bench | 2'-7½" × 2'-1½" × 2'-11½" | 800 × 650 × 900 | Open undershelf for the board rack, 100 mm back upstand | nos | 1 | 2.6 | run ft |  |  |  |  | A.01
2 | Dumpling and veg prep bench | 2'-7½" × 2'-1½" × 2'-11½" | 800 × 650 × 900 | Top over the under-counter freezer (B.07); two wall shelves over | nos | 1 | 2.6 | run ft |  |  |  |  | A.02
3 | Pass counter | 2'-1½" × 2'-1½" × 2'-11½" | 650 × 650 × 900 | Heat-lamp bracket; hatch ledge 700 mm through the wall | nos | 1 | 2.1 | run ft |  |  |  |  | A.03
4 | Dish sink, 2 bowls | 2'-7½" × 2'-1½" × 2'-11½" | 800 × 650 × 900 | Pre-rinse spray bracket, undershelf, legs | nos | 1 | 2.6 | run ft |  |  |  |  | A.04
5 | Wall shelf over the dish line | 4'-7" × 1'-2" | 1,400 × 350 | One plain, one slatted for bamboo steamer baskets | nos | 2 | 9.2 | run ft |  |  |  |  | A.05
6 | Veg and herb wash sink | 1'-5½" × 1'-7½" × 2'-11½" | 450 × 500 × 900 | Single bowl, legs, undershelf | nos | 1 | 1.5 | run ft |  |  |  |  | A.06
7 | Sauce and oil wall shelf | 2'-11½" × 1'-0" | 900 × 300 | Back-up stock, fixed at 1.45 m | nos | 1 | 3 | run ft |  |  |  |  | A.07
8 | Wok seasoning rail | 1'-5½" × 8½" | 440 × 220 | At 1.0 m; 8 lidded pots and a rack for 8 squeeze bottles | set | 1 | 1.4 | run ft |  |  |  |  | A.08
9 | Wok tool rail | 1'-6½" long | 470 long | At 1.4 m with 4 hooks | nos | 1 | 1.5 | run ft |  |  |  |  | A.09
10 | Chilled mise-en-place rail | 2'-6" × 10" × 8½" | 760 × 260 × 220 | Counter-top unit for 5 pans | nos | 1 | 2.5 | run ft |  |  |  |  | A.10
11 | Dip and garnish rail | 2'-1½" × 4½" | 650 × 120 | 5 inserts, on the pass | nos | 1 | 2.1 | run ft |  |  |  |  | A.11
12 | Ticket rail | 2'-1½" long | 650 long | Above the pass hatch | nos | 1 | 2.1 | run ft |  |  |  |  | A.12
13 | Magnetic knife strip | 1'-3½" long | 400 long |  | nos | 2 | 2.6 | run ft |  |  |  |  | A.13
14 | Cutting-board rack | 11" × 1'-4½" × 1'-4½" | 280 × 420 × 420 | Slots for 4 colour-coded boards, under the non-veg bench | nos | 1 | [6 empty] | A.14
15 | Floor channel drain | 10'-4" × 3" | 3,150 × 80 | SS grating, falls to the grease trap (3.15 m) | run ft | 10.3 | [6 empty] | A.15
16 | Storage deck racking | 1'-5½" × 6'-8½" · 6'-3" × 1'-5½" · 2'-7½" × 1'-5½" | 450 × 2,050 · 1,900 × 450 · 800 × 450 | SS or galvanised, 3 tiers, one rack of each size | nos | 3 | [6 empty] | A.19
17 | Ceiling hatch frame with fold-down ladder | 1'-11½" × 2'-7½" opening | 600 × 800 opening | For light goods; heavy stock goes on the hoist (B.21) | nos | 1 | [6 empty] | A.20
Subtotal, section 1
| Cooking, cold and kitchen equipment (branded) |  |  | State make and model, burner rating in kW (or kcal/hr), litres for each cold unit, and who services it in Goa. Sizes are the space available: do not quote a wider unit.
18 | Chinese wok range, 2 burners | 3'-11" × 2'-7½" × 2'-7½" | 1,200 × 800 × 800 | LPG; state burner kW. 750 to 900 mm deep is acceptable (aisle is 0.95 m at the range) | nos | 1 | [6 empty] | B.01
19 | Dim sum steamer, 2 holes | 1'-11½" × 2'-3½" × 2'-7½" | 600 × 700 × 800 | LPG; with water top-up | nos | 1 | [6 empty] | B.02
20 | Twin-tank fryer | 1'-11½" × 2'-3½" × 2'-11½" | 600 × 700 × 900 | LPG; two tanks (veg and non-veg oil) | nos | 1 | [6 empty] | B.03
21 | Stock range, 2 burners | 1'-11½" × 2'-3½" × 2'-9½" | 600 × 700 × 850 | LPG; for 20 L stock pots | nos | 1 | [6 empty] | B.04
22 | Reach-in, 2 doors, dual temperature | 3'-1½" × 2'-5½" × 6'-6½" | 950 × 750 × 2,000 | About 800 L: fridge door at the front, freezer door at the back, doors open into the aisle; state litres of each side | nos | 1 | [6 empty] | B.05
23 | Under-counter fridge (pass) | 1'-11½" × 1'-9½" × 2'-3½" | 600 × 550 × 700 | Sauce bases and cut veg; state litres | nos | 1 | [6 empty] | B.06
24 | Under-counter freezer, 2 doors | fits under 2'-7½" × 2'-1½" | fits under 800 × 650 | State litres (target about 650 L of freezer in all with the reach-in) | nos | 1 | [6 empty] | B.07
25 | Under-counter dishwasher | 1'-11½" × 2'-1½" × 2'-11½" | 600 × 650 × 900 | With drainboard and its own booster heater | nos | 1 | [6 empty] | B.08
26 | Rice cooker | Ø 10" | Ø 260 | 5 L; one for jasmine, one for sticky rice | nos | 2 | [6 empty] | B.09
27 | Mixer-grinder |  |  | Commercial, for sauces and batter | nos | 1 | [6 empty] | B.10
28 | Kitchen blowtorch |  |  |  | nos | 1 | [6 empty] | B.11
29 | Storage water heater | Ø 1'-1" × 1'-7½" | Ø 330 × 500 | 35 L, 3 kW, 70 °C, high on the left wall over the dish line | nos | 1 | [6 empty] | B.12
30 | Water heater for a hand-wash basin |  |  | 6 L, under each basin | nos | 2 | [6 empty] | B.13
31 | Insect killer | 1'-7½" × 7" | 500 × 180 | Over the kitchen door | nos | 1 | [6 empty] | B.14
32 | Heat lamp over the pass |  |  | On its own switch | nos | 2 | [6 empty] | B.15
33 | Goods hoist |  |  | Electric, 200 kg, over the ceiling hatch, with limit switch | nos | 1 | [6 empty] | B.21
34 | Smallware |  |  | To the chef's list: carbon-steel woks, ladle, spatula, spider, wok brush, pans, food pans, knives, boards, stone mortar | lot | 1 | [6 empty] | B.22
35 | Bamboo steamer stack | Ø 10" | Ø 260 | 3 baskets and a lid, for the drying shelf (the steamer comes with its own baskets, B.02) | nos | 3 | [6 empty] | B.23
Subtotal, section 2
| Hood, exhaust and ventilation |  |  | Exhaust about 2,400 to 3,000 CFM (4,000 to 5,000 m³/h) for the whole hood; make-up air about 80% of it. No roof stack: apartment above and parking behind, so the duct goes out through the back wall, along it and up the right side, with an ESP before the fan. Vendor states the static pressure the fan is selected for.
36 | Canopy hood, wall type, with baffle filters | 11'-0" × 3'-1½" × 1'-9½" | 3,350 × 950 × 550 | SS 304, 20 SWG (0.9 mm); SS baffle filters, grease cup, LED lights; bottom edge 6'-9" (2.05 m) above the floor; overhang 8" at the open end, 6" over the wok range. Priced per running foot or per hood: state which | nos | 1 | 11 | run ft |  |  |  |  | A.16
37 | Exhaust ducting, rectangular | 16" × 16" section | 400 × 400 section | SS 304, 20 SWG (0.9 mm), at 7'-8" to 9'-0" above the floor: hood collar, wall opening, along the back wall, round the corner, to the ESP, fan and discharge; brackets, bends, access doors. Sheet area 86 sq ft (about 95 sq ft with bends) | run ft | 16.4 | 95 | sq ft |  |  |  |  | A.17
38 | Discharge elbow | 16" × 16" section | 400 × 400 section | About 8'-6" above the floor, pointing away from the building; bird mesh and rain cowl | nos | 1 | [6 empty] | A.18
39 | ESP with carbon odour filter | 1'-7½" × 3'-3½" × 2'-11½" | 500 × 1,000 × 900 | Outside, 6'-9" to 9'-8" above the floor; rated for 2,400 to 3,000 CFM; state kW and filter life | nos | 1 | [6 empty] | B.16
40 | Inline exhaust fan | Ø 17½" | Ø 440 | 2,400 to 3,000 CFM at the static pressure you state (duct + ESP + discharge); belt or direct drive, motor HP stated; anti-vibration mounts, speed control | nos | 1 | [6 empty] | B.17
41 | Fresh-air intake fan | 1'-7½" × 1'-7" | 500 × 480 | High on the back wall (about 10'-10"); about 1,900 to 2,400 CFM; interlocked with the exhaust | nos | 1 | [6 empty] | B.18
42 | Make-up air diffuser, perforated, low velocity | 1'-11½" × 1'-7½" | 600 × 500 | In the kitchen ceiling, about 950 to 1,200 CFM each | nos | 2 | [6 empty] | B.19
43 | Make-up air cooling coil with condenser | condenser 2'-7½" × 1'-9½" × 1'-0" | condenser 800 × 550 × 300 | 1.5 TR; condenser on the right side wall at about 9'-10" above the floor | set | 1 | [6 empty] | B.20
44 | Exhaust fan and ESP control panel |  |  | With hood-light switch and interlocks (fan, make-up air, gas solenoid, suppression) | nos | 1 | [6 empty] | E.03
Subtotal, section 3
Total of all sections (ex-GST)
Freight and unloading to Betalbatim
Installation and connections not included above
| GST rate (%) | [9 empty] | 18
GST
Grand total including GST

## Notes
Units used in this BOQ
Length: feet and inches (nearest ½ inch) with the millimetres alongside. Sheet thickness: SWG with the millimetres. Hood and benches can be priced per running foot, duct per square foot, or per unit.
Airflow: CFM (1 m³/h = 0.589 CFM). Cooling: TR. Cold units: litres. Cylinders: kg. Burners: kW (or kcal/hr, say which).
These are the conventions commonly used in Indian commercial-kitchen quotes; if your vendor works in a different unit, use the millimetre column.
Every quote must state: steel grade and SWG, price ex-GST with the GST rate, delivery, installation, lead time, payment schedule, warranty and who services it in Goa, validity.
Concept drawings for briefing suppliers, not construction drawings. Duct length is an estimate: the vendor measures on site.